## Sheet1
UPU Industries, Inc. |  | Maintenance Weekly Inspections Sheet 1 IMS-0105.027L | [7 empty] | Revision: 6
Prepared by: L Heath, T Whitlock | [9 empty] | Revision Date: 17 Dec 2019
Updated by: L Heath | [9 empty] | Effective Date: 07 Jan 2014
Approved by: K Rogers | [9 empty] | Page 1 of 5
Maintenance Weekly Inspections Sheet 1
What to look for: | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK?
A.H.U. Checklist:
Condensation Lines: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check for debris
Unit: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check for Unusual Noises
Vibrations/Squealing
Condenser Fan: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Inspect fan operation
Condenser Coil: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check for Dirt/Airborne
Particles (cotton, bugs)
Oil Spills and Painted Lines:
Oil Spills: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check floor for oil spills
from equipment etc.
Check painted lines | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check forklift lines and
around electrical boxes.
Straps,Slings,Chain Hoist,and Eyelet Hooks
Straps,Slings,Chain Hoist,and Eyelet Hooks | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check for waer and Tear
Chain hooks: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK |  | OK
Check chain condition
Hoist and Eyelet Hooks | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check chin codition,
hook operation, and
hoist operation
Comments:
*** Controlled copies of this document have a red signature or are located on the computer network IMS folder***

## Sheet2
UPU Industries, Inc. |  | Maintenance Weekly Inspections Sheet 2 IMS-0105.027L | [7 empty] | Revision: 6
Prepared by: L Heath, T Whitlock | [9 empty] | Revision Date: 17 Dec 2019
Updated by: L Heath | [9 empty] | Effective Date: 07 Jan 2014
Approved by: K Rogers | [9 empty] | Page 2 of 5
Maintenance Weekly Inspections Sheet 2
What to look for: | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK?
Vacuum Cleaners Checklist:
Vacuum: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check conditon of
power switch (on/off),
power cord (cuts), hoses,
wheels, etc.
Baler Checklist:
Unit:
Check safety gate, cable,
and machine condition (oil
leaks, broken welds, etc.)
Hydraulics:
Hydraulic hose condition | [6 empty] | OUT OF SERVICE
and fittings
Electrical:
Emergency stop button
Limit switch operation (up/
down)
Chiller PM Checklist:
Unit: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check water supply, water
leaks, operation, pipes,
unusual noises
Compressor: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check oil level, oil leaks,
and refrigerant
Condenser coil: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check for dirt or airborne
particles
Comments:
*** Controlled copies of this document have a red signature or are located on the computer network IMS folder***

## Sheet3
UPU Industries, Inc. |  | Maintenance Weekly Inspections Sheet 3 IMS-0105.027L | [7 empty] | Revision: 6
Prepared by: L Heath, T Whitlock | [9 empty] | Revision Date: 17 Dec 2019
Updated by: L Heath | [9 empty] | Effective Date: 07 Jan 2014
Approved by: K Rogers | [9 empty] | Page 3 of 5
Maintenance Weekly Inspections Sheet 3
What to look for: | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK?
Hydraulic Hose Checklist:
Hydraulic Hoses: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check hose condition and
fittings for leaks on the
blowline winders, forklift,
production trollies, baler,
etc.
Traction Tape / Covers & Guards:
Traction Tape: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check condition on loom
covers, forklift, steps, etc.
Covers & Guards: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check operation, missing
bolts, and condition
Silo Checklist:
Units: | TC OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check all doors (locked),
piping for breakage or
leaks, silo anchors
(ground), and welds
Pressure Valve Checklist:
Pressure Valves: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check for leakage and
corrosion on the Blowline
air tanks, air compressor,
hotwater heaters, etc.
Building Outside Lights:
Lights: | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check for operation
Comments:
*** Controlled copies of this document have a red signature or are located on the computer network IMS folder***

## Sheet4
UPU Industries, Inc. |  | Maintenance Weekly Inspections Sheet 4 IMS-0105.027L | [7 empty] | Revision: 6
Prepared by: L Heath, T Whitlock | [9 empty] | Revision Date: 17 Dec 2019
Updated by: L Heath | [9 empty] | Effective Date: 07 Jan 2014
Approved by: K Rogers | [9 empty] | Page 4 of 5
Maintenance Weekly Inspections Sheet 4
What to look for: | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK?
20 Ton Shop Press:
Check condition of press | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check for oil leaks | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check table rest condition, etc. | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
TRASH COMPACTOR:
trash compactor and frame
Check for broken welds | [6 empty] | OUT OF SERVICE
Check wiring
SCISSOR LIFT(Pallet Lift):
check the caution tape, floor markings, safety railing | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24
Production Ext. Cords:
Check retractabel units | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
check connections and cables for
lacerations, check plug ends for
damage.
Check ext. cords | TC 16 OCT 234 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check for knots, kinks or lacerations
Comments:
*** Controlled copies of this document have a red signature or are located on the computer network IMS folder***

## Sheet5
UPU Industries, Inc. |  | Maintenance Weekly Inspections Sheet 5 IMS-0105.027L | [7 empty] | Revision: 6
Prepared by: L Heath, T Whitlock | [9 empty] | Revision Date: 17 Dec 2019
Updated by: L Heath | [9 empty] | Effective Date: 07 Jan 2014
Approved by: K Rogers | [9 empty] | Page 5 of 5
Maintenance Weekly Inspections Sheet 5
What to look for: | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK? | Date Inspected by who? | OK?
A-Frame crane at BL:
check for loose bolts, | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
check for broken welds, paint, sign, work, etc… | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check the wheels & operation | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Check the safety lock is in place | TC 16 OCT 24 | OK | TC 17 OCT 24 | OK | TC 29 OCT 24 | OK
Comments:
*** Controlled copies of this document have a red signature or are located on the computer network IMS folder***