## IMS-0105.027I Weekly Inspection
UPU Industries, Inc. | Unnamed: 1 | Sprinkler System Weekly Inspection Checklist IMS-0105.027I | Unnamed: 3 | Unnamed: 4 | Unnamed: 5 | Unnamed: 6 | Revision: 2 | Unnamed: 8
Prepared by: I Graf | [6 empty] | Revision date: 20 Jun 2019
Updated by: L Heath | [6 empty] | Effective date: 18 Sep 2013
Approved: K Rogers | [6 empty] | Page 1 of 1
This form covers a 6-month period |  |  |  |  | January - June
| Year: | 2023 | System:
1. If valves are sealed, note "Yes" in this block. If any are not sealed, reseal and note "Resealed" in this block.
2. If all sprinklers are in good condition and storage is maintained at least 18 in. (46 cm) below the sprinklers, note "Yes" in block. If not, write "See Notes" and briefly describe under the "Notes/Repair WO#" section.
3. If there is the proper number and type of replacement sprinkler heads and a sprinkler wrench accounted for, put "Yes", if not, write "See Notes" and briefly describe under the "Notes/Repair WO#" section.
4. Record pressure readings in psi (bar). A loss of more than 10% should be investigated.
5. If no damage is found to the sprinkler system, note "Yes" in this block. If there is physical damage mark "Damaged" and briefly describe under the "Notes/Repair WO#" section.
6. If all ID Signs are attached, note "Yes" in block. If not, write "See Notes" and briefly describe under the "Notes/Repair WO#" section.
Date | Inspector | Valves Sealed (1) | Sprinkler Heads OK (2) | All Alarm Devices Seen (3) | Note Water Pressures (4) | Free of Damage (5) | ID Signs Attached (6) | Notes/ Repair WO#
2023-01-02 |  |  |  |  | ___,___,___
2023-01-09 |  |  |  |  | ___,___,___
2023-01-16 |  |  |  |  | ___,___,___
2023-01-23 |  |  |  |  | ___,___,___
2023-01-30 |  |  |  |  | ___,___,___
2023-02-06 |  |  |  |  | ___,___,___
2023-02-13 |  |  |  |  | ___,___,___
2023-02-20 |  |  |  |  | ___,___,___
2023-02-27 |  |  |  |  | ___,___,___
2023-03-06 |  |  |  |  | ___,___,___
2023-03-13 |  |  |  |  | ___,___,___
2023-03-20 |  |  |  |  | ___,___,___
2023-03-27 |  |  |  |  | ___,___,___
2023-04-03 |  |  |  |  | ___,___,___
2023-04-10 |  |  |  |  | ___,___,___
2023-04-17 |  |  |  |  | ___,___,___
2023-04-24 |  |  |  |  | ___,___,___
2023-05-01 |  |  |  |  | ___,___,___
2023-05-08 |  |  |  |  | ___,___,___
2023-05-15 |  |  |  |  | ___,___,___
2023-05-22 |  |  |  |  | ___,___,___
2023-05-29 |  |  |  |  | ___,___,___
2023-06-05 |  |  |  |  | ___,___,___
2023-06-12 |  |  |  |  | ___,___,___
2023-06-19 |  |  |  |  | ___,___,___
2023-06-26 |  |  |  |  | ___,___,___