## IMS-0105.028B
UPU Industries, Inc. | Fixed Stairs and Ladders Inspection Checklist IMS-0105.028B | Unnamed: 2 | Unnamed: 3 | Revision: 5 | Unnamed: 5
Prepared by: A Matczak |  |  |  | Revision Date: 20 Jun 2019
Updated by: L Heath |  |  |  | Effective Date: 06 Sep 2013
Approved by: K Rogers |  |  |  | Page 1 of 2
Inspection conducted weekly
Steps/stairs location/number: ISO#: 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18
Blowline#: 1 2 3
(circle 1) Blowline North Stairwell Blowline South Stairwell TL Office Stairs
| ISO 1-18 | Blowline Head 1,2,3 | Blowline North | Blowline South | Team Leader Office
Item to be checked: | Yes/No | Yes/No | Yes/No | Yes/No | Yes/No
Framework & Bracings
Are all parts of the main steel framework free from bends, twists, breaks, splits, corrosion and other damage? | Yes | Yes | Yes | Yes | Yes
Are all welded joints in good order? | Yes | Yes | Yes | Yes | Yes
Are all bolts present and securely fixed? | Yes | Yes | Yes | Yes | Yes
Are all removable bracings present, securely fixed and free from bends and other damage? | Yes | Yes | Yes | Yes | Yes
Are all loom ladder wheels and floor support wheels present and free from damage, breakage, and other damage? | Yes | Yes | Yes | Yes | Yes
Are all handrails present, securely fixed and free from bends and other damage? | Yes | Yes | Yes | Yes | Yes
Treads & Working Platform
Are all treads present, securely fixed, free from damage and accessible to the top platform? | Yes | Yes | Yes | Yes | Yes
Is the platform area free from dents, bends and other damage? | Yes | Yes | Yes | Yes | Yes
Are all kick-plates present and free from damage? | Yes | Yes | Yes | Yes | Yes
Paintwork
Is the paintwork clean and free from grease, oil and other chemicals? | Yes | Yes | Yes | Yes | Yes
Is the paintwork in good general order and free from excessive corrosion? | Yes | Yes | Yes | Yes | Yes
Safety Mechanisms
Are all safety chains securely fixed, free from damage and are fully operable? (blow lines only) | Yes | Yes | Yes | Yes | Yes
Are all loom ladder latches present and in good working order? | Yes | Yes | Yes | Yes | Yes
Are all safety signs in place and legible? | Yes | Yes | Yes | Yes | Yes
Comments: (Include repair Ladder Location and WO#)
Inspected by:
Date:
UPU Industries, Inc. | Fixed Stairs and Ladders Inspection Checklist IMS-0105.028B |  |  | Revision: 5
Prepared by: A Matczak |  |  |  | Revision Date: 20 Jun 2019
Updated by: L Heath |  |  |  | Effective Date: 06 Sep 2013
Approved by: K Rogers |  |  |  | Page 2 of 2
Revision History:
Revision History: |  | Action Plan# | Reason for revision |  | Description of revision
Date | #
2015-01-02 | 1 | - | Review of Stairway and Ladder Safety Plan |  | change layout and inspection criteria
2016-01-04 | 2 | - | added looms |  | added looms 15, 16, 17
2017-06-05 | 3 | - | added info on wheels, support wheels, latches |  | added inspection of wheels, floor support wheels, and latches
2018-03-23 | 4 | - | added L18 |  | added L18
2019-06-20 | 5 | - | new header |  | new header